## Sheet1
ID String | NominalFlowRate | FCF | K1 | I.D. Resistor | Drive Target | Proportional Gain800 | Integral Gain800 | Proportional Gain2200 | Integral Gain2200 | Proportional Gain700 | Integral Gain700 | FD Limit | Overshoot | GasFD | TubeID | mp, p < 0.4 | bp, p < 0.4 | mp, p > 0.4 | bp, p > 0.4 | DriveSaturationAlgorithm800 | PressureEffect_Flow_Liquid | PressureEffect_Flow_Gas | PressureEffect_Density | Zero Stability | A4 | TemperatureEffect_Density | TemperatureEffect_Flow | Tone Level | Ramp Time | BL Temp Coeff* | Drive SP FCF | Puck P FCF | dF Tone Spacing | Freq. Drift Limit* | Max Sensor Current | Minimum Flow Multiplier | T03 | MassFlowAccuracy_Liquid | MassFlowAccuracyMVD_Gas | DensityAccuracy_Liquid
CMF010 | --- | 0.406 | 9680. | --- | 3.4 | --- | --- | --- | --- | --- | --- | 14.0 | 1.07 | 1.0 | 6.587e-6 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0.0 | --- | --- | 0 | 0 | --- | 0 | 0 | 0 | --- | 0 | 50.0 | --- | 0 | 0 | ---
CMF010 | --- | 0.406 | 9680.0 | 0.0 | 3.4 | --- | --- | --- | --- | --- | --- | 14.0 | 1.07 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 5.0 | 30.0 | --- | 1.7 | 50.0 | 0.266666666666667 | --- | 8.0 | 50.0 | --- | --- | --- | ---
Ok | Ok | Ok | Ok | No Match | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | No Match | No Match | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | No Match | No Match | Ok | Ok | No Match | No Match | Ok | No Match | No Match | No Match | Ok | No Match | Ok | Ok | No Match | No Match | Ok
CMF010P | --- | 0.689 | 9249. | --- | 3.4 | --- | --- | --- | --- | --- | --- | 14.0 | 1.07 | 1.0 | 5.066e-6 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0.0 | --- | --- | 0 | 0 | --- | 0 | 0 | 0 | --- | 0 | 50.0 | --- | 0 | 0 | ---
CMF010P | --- | 0.689 | 9249.0 | 0.0 | 3.4 | --- | --- | --- | --- | --- | --- | 14.0 | 1.07 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 5.0 | 30.0 | --- | 1.7 | 50.0 | 0.266666666666667 | --- | 8.0 | 50.0 | --- | --- | --- | ---
Ok | Ok | Ok | Ok | No Match | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | No Match | No Match | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | No Match | No Match | Ok | Ok | No Match | No Match | Ok | No Match | No Match | No Match | Ok | No Match | Ok | Ok | No Match | No Match | Ok
CMF025 | --- | 4.339 | 6385. | --- | 3.4 | --- | --- | --- | --- | --- | --- | 14.0 | 1.07 | 1.0 | 4.302e-5 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0.0 | --- | --- | 0 | 0 | --- | 0 | 0 | 0 | --- | 0 | 50.0 | --- | 0 | 0 | ---
CMF025+ | --- | 5.0 | 6385.0 | 0.0 | 3.4 | --- | --- | --- | --- | --- | --- | 14.0 | 1.07 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 15.0 | 15.0 | --- | 3.4 | 250.0 | 0.333333333333333 | --- | 30.0 | 50.0 | --- | --- | --- | ---
No Match | Ok | No Match | Ok | No Match | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | No Match | No Match | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | No Match | No Match | Ok | Ok | No Match | No Match | Ok | No Match | No Match | No Match | Ok | No Match | Ok | Ok | No Match | No Match | Ok
CMF025+ | --- | 5.000 | 6385. | --- | 3.4 | --- | --- | --- | --- | --- | --- | 14.0 | 1.07 | 1.0 | 4.302e-5 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0.0 | --- | --- | 0 | 0 | --- | 0 | 0 | 0 | --- | 0 | 50.0 | --- | 0 | 0 | ---
CMF025+ | --- | 5.0 | 6385.0 | 0.0 | 3.4 | --- | --- | --- | --- | --- | --- | 14.0 | 1.07 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 15.0 | 15.0 | --- | 3.4 | 250.0 | 0.333333333333333 | --- | 30.0 | 50.0 | --- | --- | --- | ---
Ok | Ok | Ok | Ok | No Match | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | No Match | No Match | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | No Match | No Match | Ok | Ok | No Match | No Match | Ok | No Match | No Match | No Match | Ok | No Match | Ok | Ok | No Match | No Match | Ok
CMF050 | --- | 14.87 | 6444. | --- | 3.4 | --- | --- | --- | --- | --- | --- | 14.0 | 1.07 | 1.0 | 1.206e-4 | --- | --- | --- | --- | --- | --- | --- | --- | 0 | 0.0 | --- | --- | 0 | 0 | --- | 0 | 0 | 0 | --- | 0 | 50.0 | --- | 0 | 0 | ---
CMF050 | --- | 14.87 | 6444.0 | 0.0 | 3.4 | --- | --- | --- | --- | --- | --- | 14.0 | 1.07 | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | 20.0 | 15.0 | --- | 0.85 | 250.0 | 0.333333333333333 | --- | 30.0 | 50.0 | --- | --- | --- | ---
Ok | Ok | Ok | Ok | No Match | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | No Match | No Match | Ok | Ok | Ok | Ok | Ok | Ok | Ok | Ok | No Match | No Match | Ok | Ok | No Match | No Match | Ok | No Match | No Match | No Match | Ok | No Match | Ok | Ok | No Match | No Match | Ok